FIRE SAFETY RISK ASSESSMENT FOR Blacksmiths Cottage

Blacksmiths Cottage is a No Smoking Property.

People at risk at Blacksmiths Cottage include both guests and employees of either Yorkshire Cottages or the owners of Blacksmiths Cottage

People especially at risk: The most vulnerable guests are young children, the elderly and those with mobility difficulties, who may be unable to escape without assistance.

| Room | Fire Hazards | Evaluation of Risk and Risk Reduction | Information and Steps YOU can take to reduce fire risk | Escape Route (keep all escape routes clear) |
| --- | --- | --- | --- | --- |
| Hall and under-stairs cupboard. | None identified. | Low Risk. | Do not store hazardous material in under-stairs cupboard. | Immediate access via external door |
| Lounge and Dining area. | Electrical Appliances | Low risk | Turn off appliances at plug at night | Access to external door via hallway. Also exit via windows (ground floor) |
|  | Wood burning stove | Medium risk Smoke alarm and Carbon monoxide alarm fitted | Instructions on how to use the stove and ensure it is left safely are provided in the cottage Do not place combustible materials – eg paper/ fabric near to the fire. Routinely check that the smoke/carbon monoxide alarms are working. NEVER leave a lit fire or burning candle unattended. Chimney to be swept every 12 months. |  |
| Kitchen | Oven/ Grill/ Hob Toaster/ Microwave | Medium Risk Fire Blanket and Fire Extinguisher supplied by cooker and on window sill. | Follow all safety procedures when cooking, especially with heating cooking oil. Turn appliances off when not in use. | Access to external door via hallway. Also exit via windows (ground floor) |

| Room | Fire Hazards | Evaluation of Risk and Risk Reduction | Information and Steps YOU can take to reduce fire-risk | Escape Route (keep all escape routes clear) |
| --- | --- | --- | --- | --- |
| WC | None identified | Low Risk | Do not allow naked flames. | Down stairs to external door Fully opening window (first floor) |
| Bathroom | None identified | Low Risk | Do not allow naked flames. | Down stairs to external door Fully opening window (first floor) |
| Landing and Stairs | None identified | Low Risk Smoke alarm fitted in hallway. | Routinely CHECK that the SMOKE ALARM is working. | Down stairs to external door |
| Bedrooms | None identified | Low Risk | Do not allow naked flames. | Down stairs to external door Fully opening windows (first floor) |
| Garage | Washing machine/tumble drier | Low Risk | Turn off appliances at mains when not in use | Garage doors |

All furniture and mattresses conform to the

Furniture and Furnishings (Fire Safety) Regulations 1988

In case of fire please follow this procedure:

- SHOUT A WARNING / RAISE THE ALARM

- EVACUATE THE BUILDING THROUGH ESCAPE ROUTE(S)

- CLOSE THE DOORS BEHIND YOU TO MINIMISE THE SPREAD OF FIRE

- ACCOUNT FOR ALL OCCUPANTS

- CALL THE FIRE BRIGAGE on 999

- ALERT THE ADJACENT PROPERTY

If all major escape routes become blocked, gather everyone together into one room, close the door and place towels or bedding along the bottom to seal the gap. Open a window staying close to it to breathe the fresh air and raise the alarm to neighbours.

Emergency Lighting

Torches are provided on each floor to assist your escape.

Updated: 2nd December 2018